## PARAS
MYT petition filed before Hon'ble Commission (MERC Case No. 187/MY/2024) -- Data Gaps Set -I
Table 3: Format for submission of details regarding coal availability
PARAS TPS
Month | Coal Company | Prorata ACQ as per the FSA /BL/MoU | Requirement given to the Coal Company | Quantum agreed to be supplied by the Coal Company | Month | Coal Company | Prorata ACQ as per the FSA /BL/MoU | Requirement given to the Coal Company | Quantum agreed to be supplied by the Coal Company | Month | Coal Company | Prorata ACQ as per the FSA /BL/MoU | Requirement given to the Coal Company | Quantum agreed to be supplied by the Coal Company
|  | Ton | Ton | Ton |  |  | Ton | Ton | Ton |  |  | Ton | Ton | Ton
2022-04-01 | WCL | 208583.3333 | 288750 | 288750 | 2023-04-01 | WCL | 208583.3333 | 231000 | 231000 | 2024-04-01 | WCL | 208583.3333 | 231000 | 231000
2022-05-01 | WCL | 208583.3333 | 298375 | 298375 | 2023-05-01 | WCL | 208583.3333 | 298375 | 298375 | 2024-05-01 | WCL | 208583.3333 | 238700 | 238700
2022-06-01 | WCL | 208583.3333 | 288750 | 288750 | 2023-06-01 | WCL | 208583.3333 | 231000 | 231000 | 2024-06-01 | WCL | 208583.3333 | 231000 | 231000
2022-07-01 | WCL | 183553.3333 | 238700 | 238700 | 2023-07-01 | WCL | 183553.3333 | 238700 | 238700 | 2024-07-01 | WCL | 183553.3333 | 179025 | 179025
2022-08-01 | WCL | 183553.3333 | 238700 | 238700 | 2023-08-01 | WCL | 183553.3333 | 238700 | 238700 | 2024-08-01 | WCL | 183553.3333 | 179025 | 179025
2022-09-01 | WCL | 183553.3333 | 231000 | 231000 | 2023-09-01 | WCL | 183553.3333 | 231000 | 231000 | 2024-09-01 | WCL | 183553.3333 | 231000 | 231000
2022-10-01 | WCL | 208583.3333 | 238700 | 238700 | 2023-10-01 | WCL | 208583.3333 | 238700 | 238700 | 2024-10-01 | WCL | 208583.3333 | 238700 | 238700
2022-11-01 | WCL | 208583.3333 | 231000 | 231000 | 2023-11-01 | WCL | 208583.3333 | 231000 | 231000
2022-12-01 | WCL | 208583.3333 | 238700 | 238700 | 2023-12-01 | WCL | 208583.3333 | 238700 | 238700
2023-01-01 | WCL | 233613.3333 | 238700 | 238700 | 2024-01-01 | WCL | 233613.3333 | 238700 | 238700
2023-02-01 | WCL | 233613.3333 | 215600 | 215600 | 2024-02-01 | WCL | 233613.3333 | 223300 | 223300
2023-03-01 | WCL | 233613.3333 | 238700 | 238700 | 2024-03-01 | WCL | 233613.3333 | 298375 | 298375

## Table
Table 3: Format for submission of details regarding coal availability
Month | Coal Company | Prorata ACQ as per the FSA | Requirement given to the Coal Company | Quantum agreed to be supplied by the Coal Company (Linkage) | Requisition placed with Railways during the month | Actual quantum of coal supplied* (RR Wt.) | Transfer to other Stations | Details of those Stations to which the coal has been transferred
|  | Ton | Ton | Ton | Ton | Ton | Ton | Station | Ton
2022-04-01 | WCL |  | 250000 | 285000 |  | 216351.27 | 0 |  | 0
| Total |  | 250000 | 285000 |  | 216351.27 | 0 |  | 0
2022-05-01 | WCL |  | 260000 | 294500 |  | 270339.95 | 31556.7 | MFSG | 27436
[8 empty] | MQSG | 4120.7
| SECL |  | 0 | 0 |  | 7842.37 | 0 | 0 | 0
| Total |  | 260000 | 294500 |  | 278182.32 | 31556.7 |  | 31556.7
2022-06-01 | WCL |  | 250000 | 285000 |  | 248863.52 | 19376.4 | MFSG | 19376.4
| Total |  | 250000 | 285000 |  | 248863.52 | 19376.4 |  | 19376.4
2022-07-01 | WCL |  | 190000 | 235600 |  | 105019.96 | 8046.4 | MFSG | 8064.4
| MCL |  | 0 | 0 |  | 15154.21 | 0 | 0 | 0
| SECL |  | 0 | 0 |  | 3906.83 | 0 | 0 | 0
| Total |  | 190000 | 235600 |  | 124081 | 8046.4 |  | 8064.4
2022-08-01 | WCL |  | 220000 | 235600 |  | 157012.46 | 4105.8 | MQSG | 4105.8
| MCL |  | 0 | 0 |  | 57623.15 | 0 | 0 | 0
| SECL |  | 0 | 0 |  | 11781.21 | 0 | 0 | 0
| Total |  | 220000 | 235600 |  | 226416.82 | 4105.8 |  | 4105.8
2022-09-01 | WCL |  | 250000 | 231000 |  | 147334.99 | 0 | 0 | 0
| MCL |  | 0 | 0 |  | 47682.71 | 0 | 0 | 0
| SECL |  | 0 | 0 |  | 12040.7 | 0 | 0 | 0
| Total |  | 250000 | 231000 |  | 207058.4 | 0 | 0 | 0
2022-10-01 | WCL |  | 196000 | 238700 |  | 171557.97 | 19777.4 | MFSG | 3814.7
[8 empty] | MQSG | 15962.7
| MCL |  | 0 | 0 |  | 7498.33
| Total |  | 196000 | 238700 |  | 179056.3 | 19777.4 |  | 19777.4
2022-11-01 | WCL |  | 245000 | 231000 |  | 120284.33 | 0 |  | 0
| MCL |  | 0 | 0 |  | 7472.94 | 0 |  | 0
| SECL |  | 0 | 0 |  | 7772.8 | 0 |  | 0
| Total |  | 245000 | 231000 |  | 135530.07 | 0 |  | 0
2022-12-01 | WCL |  | 253000 | 238700 |  | 156516.82 | 12153.4 | MFSG | 8145.6
[8 empty] | MQSG | 4007.8
| MCL |  | 0 | 0 |  | 10879.59 | 0 |  | 0
| SECL |  | 0 | 0 |  | 8055.84 | 0 |  | 0
| Total |  | 253000 | 238700 |  | 175452.25 | 12153.4 |  | 12153.4
2023-01-01 | WCL |  | 253000 | 238700 |  | 215832.82 | 20213 | MFSG | 16247.4
[8 empty] | MQSG | 3995.6
| SECL |  | 0 | 0 |  | 7617.98
| Total |  | 253000 | 238700 |  | 223450.8 | 20213 |  | 20243
2023-02-01 | WCL |  | 228000 | 215600 |  | 165430.16 | 0 |  | 0
| MCL |  | 0 | 0 |  | 3832.84 | 0 |  | 0
| Total |  | 228000 | 215600 |  | 169263 | 0 |  | 0
2023-03-01 | WCL |  | 253000 | 238700 |  | 160631.32 | 4098 | MFSG | 4098
| MCL |  | 0 | 0 |  | 22045.51 | 0 |  | 0
| SCCL |  | 0 | 0 |  | 32508.68 | 0 |  | 0
| SECL |  | 0 | 0 |  | 3714.89 | 0 |  | 0
| Total |  | 253000 | 238700 |  | 218900.4 | 4098 |  | 4098
Total for FY 2022-23 | WCL |  | 2848000 | 2968100 |  | 2135175.57 | 119327.1 |  | 119375.1
| MCL |  | 0 | 0 |  | 180031.65 |  |  | 0
| SCCL |  | 0 | 0 |  | 32508.68 |  |  | 0
| SECL |  | 0 | 0 |  | 54890.25 |  |  | 0
| Total |  | 2848000 | 2968100 |  | 2402606.15 |  |  | 119375.1
2023-04-01 | WCL |  | 245000 | 231000 |  | 211530.2 | 0 |  | 0
| MCL |  | 0 | 0 |  | 3745.51 | 0 |  | 0
| Total |  | 245000 | 231000 |  | 215275.71 | 0 |  | 0
2023-05-01 | WCL |  | 253000 | 298375 |  | 253178.77 | 12012.01 | MFSG | 12012.01
| MCL |  | 0 | 0 |  | 14629.9 | 0 |  | 0
| Total |  | 253000 | 298375 |  | 267808.67 | 12012.01 |  | 12012.01
2023-06-01 | WCL |  | 245000 | 231000 |  | 209436.95 | 4072.3 | MFSG | 4072.3
| MCL |  | 0 | 0 |  | 19979.38 | 0 |  | 0
| SCCL |  | 0 | 0 |  | 8050.72 | 0 |  | 0
| SECL |  | 0 | 0 |  | 4020.3 | 0 |  | 0
| Total |  | 245000 | 231000 |  | 241487.35 | 4072.3 |  | 4072.3
2023-07-01 | WCL |  | 253000 | 238700 |  | 164839.16 | 0 |  | 0
| MCL |  | 0 | 0 |  | 14911.89 | 0 |  | 0
| SECL |  | 0 | 0 |  | 7695.3 | 0 |  | 0
| Total |  | 253000 | 238700 |  | 187446.35 | 0 |  | 0
2023-08-01 | WCL |  | 253000 | 238700 |  | 142674.52 | 0 |  | 0
| MCL |  | 0 | 0 |  | 7524.53 | 0 |  | 0
| SCCL |  | 0 | 0 |  | 70.06 | 0 |  | 0
| SECL |  | 0 | 0 |  | 27899.12 | 0 |  | 0
| Total |  | 253000 | 238700 |  | 178168.23 | 0 |  | 0
2023-09-01 | WCL |  | 245000 | 231000 |  | 153816.32 | 7924.58 | MFSG | 7924.58
| MCL |  | 0 | 0 |  | 23000.4 | 0 |  | 0
| SECL |  | 0 | 0 |  | 28128.69 | 0 |  | 0
| Total |  | 245000 | 231000 |  | 204945.41 | 7924.58 |  | 7924.58
2023-10-01 | WCL |  | 253000 | 238700 |  | 131516.45 | 0 |  | 0
| MCL |  | 0 | 0 |  | 30046.66 | 0 |  | 0
| SECL |  | 0 | 0 |  | 72094.67 | 0 |  | 0
| Total |  | 253000 | 238700 |  | 233657.78 | 0 |  | 0
2023-11-01 | WCL |  | 245000 | 231000 |  | 149765.02 | 0 |  | 0
| MCL |  | 0 | 0 |  | 22415.54 | 0 |  | 0
| SECL |  | 0 | 0 |  | 92764.03 | 0 |  | 0
| Total |  | 245000 | 231000 |  | 264944.59 | 0 |  | 0
2023-12-01 | WCL |  | 253000 | 238700 |  | 120679.6 | 7935.17 | MFSG | 7935.17
| MCL |  | 0 | 0 |  | 18897.57 | 0 |  | 0
| SECL |  | 0 | 0 |  | 123828.9 | 0 |  | 0
| Total |  | 253000 | 238700 |  | 263406.07 | 7935.17 |  | 7935.17
2024-01-01 | WCL |  | 253000 | 238700 |  | 155876.4 | 8184.14 | MFSG | 4155.14
[8 empty] | MQSG | 4029
| MCL |  | 0 | 0 |  | 15124.16 | 0 |  | 0
| SECL |  | 0 | 0 |  | 68506.83 | 0 |  | 0
| Total |  | 253000 | 238700 |  | 239507.39 | 8184.14 |  | 8184.14
2024-02-01 | WCL |  | 237000 | 223300 |  | 140264.4 | 8004.53 | MFSG | 8004.53
| MCL |  | 0 | 0 |  | 3492.92 | 0 |  | 0
| SECL |  | 0 | 0 |  | 95640.77 | 0 |  | 0
| Total |  | 237000 | 223300 |  | 239398.09 | 8004.53 |  | 8004.53
2024-03-01 | WCL |  | 253000 | 298375 |  | 207181.92 | 19348.18 | MFSG | 19348.18
| MCL |  | 0 | 0 |  | 33674.32 | 0 |  | 0
| SECL |  | 0 | 0 |  | 31921.25 | 0 |  | 0
| Total |  | 253000 | 298375 |  | 272777.49 | 19348.18 |  | 19348.18
Total for FY 2023-24 | WCL |  | 2988000 | 2937550 |  | 2040759.71 | 67480.91 |  | 67480.91
| MCL |  | 0 | 0 |  | 207442.78 | 0 |  | 0
| SCCL |  | 0 | 0 |  | 8120.78 | 0 |  | 0
| SECL |  | 0 | 0 |  | 552499.86 | 0 |  | 0
| Total |  | 2988000 | 2937550 |  | 2808823.13 | 67480.91 | 0 | 67480.91
2024-04-01 | WCL |  | 245000 | 231000 |  | 133392.79 | 23276.2 | MFSG | 3863.9
[8 empty] | MQSG | 19412.3
| MCL |  | 0 | 0 |  | 3804.09 | 0 |  | 0
| SCCL |  | 0 | 0 |  | 4029.54 | 0 |  | 0
| SECL |  | 0 | 0 |  | 97697.69 | 0 |  | 0
| Total |  | 245000 | 231000 |  | 238924.11 | 23276.2 |  | 23276.2
2024-05-01 | WCL |  | 253000 | 238700 |  | 164769.71 | 15549.8 | MFSG | 11728.8
[8 empty] | MQSG | 3821
| MCL |  | 0 | 0 |  | 25822.04 | 0 |  | 0
| SCCL |  | 0 | 0 |  | 7882.84 | 0 |  | 0
| SECL |  | 0 | 0 |  | 90883.17 | 0 |  | 0
| Total |  | 253000 | 238700 |  | 289357.76 | 15549.8 |  | 15549.8
2024-06-01 | WCL |  | 248000 | 231000 |  | 117109.61 | 19923.8 | MFSG | 19923.8
| SCCL |  | 0 | 0 |  | 7768.08 | 0 |  | 0
| SECL |  | 0 | 0 |  | 35600.54 | 0 |  | 0
| Total |  | 248000 | 231000 |  | 160478.23 | 19923.8 |  | 19923.8
2024-07-01 | WCL |  | 172000 | 179025 |  | 74045.66 | 7864.6 | MFSG | 7864.6
| SECL |  | 0 | 0 |  | 4056.9 | 0 |  | 0
| Total |  | 172000 | 179025 |  | 78102.56 | 7864.6 |  | 7864.6
2024-08-01 | WCL |  | 145000 | 179025 |  | 80488.31 | 7851.75 | MFSG | 7851.75
| MCL |  | 0 | 0 |  | 8034.74 | 0 |  | 0
| Total |  | 145000 | 179025 |  | 88523.05 | 7851.75 |  | 7851.75
2024-09-01 | WCL |  | 245000 | 231000 |  | 152729.7 | 7916 | MFSG | 7916
| MCL |  | 0 | 0 |  | 11967.15 | 0 |  | 0
| SECL |  | 0 | 0 |  | 11866.59 | 0 |  | 0
| Total |  | 245000 | 231000 |  | 176563.44 | 7916 |  | 7916
2024-10-01 | WCL |  | 275000 | 238700 |  | 170815.57 | 0 |  | 0
| SECL |  | 0 | 0 |  | 8017.11 | 0 |  | 0
| Total |  | 275000 | 238700 |  | 178832.68 | 0 |  | 0
Total for FY 2024-25 (upto Oct. ’25) | WCL |  | 1583000 | 1528450 | 0 | 893351.35 | 82382.15 |  | 82382.15
| MCL |  | 0 | 0 |  | 49628.02 | 0 |  | 0
| SCCL |  | 0 | 0 |  | 19680.46 | 0 |  | 0
| SECL |  | 0 | 0 |  | 248122 | 0 |  | 0
| Total |  | 1583000 | 1528450 | 0 | 1210781.83 | 82382.15 | 0 | 82382.15
*including the transfer to other stations, if any.
Table 4: Format for submission of fuel details
Particulars | UoM | FY 2022-23 | [11 empty] | FY 2023-24 | [11 empty] | FY 2024-25
|  | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October | November | December | January | February | March | April | May | June | July | August | September | October
Opening coal stock | MT | 14346.84 | 80572.02 | 113341.32 | 44612.07 | 49951.09 | 71732.4 | 143264.8 | 94389.48 | 62394.83 | 73867.17 | 34830.82 | 31877.14 | 31877.14 | 41296.81 | 71767.49 | 98946.81 | 80980.11 | 34868.21 | 26432.22 | 21426.28 | 50055.71 | 75536.13 | 70607.74 | 81846.23 | 110834.65 | 133255.95 | 201002.71 | 222279.94 | 192662.34 | 123806.38 | 80314.28
Quantum of Coal received
WCL | MT | 214645.08 | 268222.38 | 246922.3 | 104197.45 | 155742.5 | 146182.65 | 170214.51 | 119173.93 | 155291.84 | 214146.75 | 164141.65 | 159375.17 | 209874.01 | 251193.61 | 207803.65 | 163550.28 | 141521.86 | 152594.19 | 130482.87 | 148595.34 | 119734.83 | 154654.7 | 139165.01 | 205570.78 | 132342.7 | 164769.71 | 117109.61 | 73468.54 | 79857.1 | 151533.29 | 169445.14
MCL | MT | 0 | 0 | 0 | 15034.6 | 57169.3 | 47308.26 | 7439.42 | 7414.61 | 10794.64 | 0 | 3803 | 21873.86 | 3716.66 | 14515.07 | 19822.64 | 14796.73 | 7464.37 | 22818.91 | 29810.6 | 22240.59 | 18750.05 | 15005.51 | 3465.65 | 33412.28 | 3774.8 | 25822.04 | 0 | 0 | 0 | 11873.52 | 7954.16
SCCL | MT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32254.34 | 0 | 0 | 7988.08 | 0 | 71.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3997.67 | 7882.84 | 7768.08 | 0 | 0 | 0 | 0
SECL | MT | 0 | 7780.8 | 0 | 3876.7 | 11688.22 | 11946.4 | 0 | 7712.14 | 7992.87 | 7558.59 | 0 | 3525.95 | 0 | 0 | 3988.95 | 7635.29 | 27660.57 | 27904.91 | 71530.59 | 92040.5 | 122856.54 | 67964.4 | 94893.83 | 31672.36 | 96902.13 | 90883.17 | 35600.54 | 4024.86 | 7971.24 | 11774.09 | 0
TOTAL |  | 214645.08 | 276003.18 | 246922.3 | 123108.75 | 224600.02 | 205437.31 | 177653.93 | 134300.68 | 174079.35 | 221705.34 | 167944.65 | 217029.32 | 213590.67 | 265708.68 | 239603.32 | 185982.3 | 176718.1 | 203318.01 | 231824.06 | 262876.43 | 261341.42 | 237624.61 | 237524.49 | 270655.42 | 237017.3 | 289357.76 | 160478.23 | 77493.4 | 87828.34 | 175180.9 | 177399.3
GCV of Coal
(as billed)
Source 1 | kcal/kg | 4216 | 4420 | 4183 | 4313 | 4060 | 4190 | 4057 | 4065 | 4072 | 4097 | 4168 | 4290 | 4227 | 4155 | 4215 | 4244 | 4276 | 4537 | 4168 | 4464 | 4215 | 4322 | 4173 | 4174 | 4172 | 4099 | 4172 | 4261 | 3915 | 3801 | 4030
Source 2 | kcal/kg | - | 4150 | - | 3697 | 3691 | 3985 | 3444 | 3938 | 3385 | 4150 | 3550 | 3550 | 3550 | 3399 | 3250 | 4150 | 3550 | 4150 | 4150 | 4150 | 4076 | 4115 | 3986 | 4150 | 4013 | 3978 | 4037 | 3850 | 3041 | 3179 | 3249
GCV of Coal(as billed) | kcal/kg | 4216 | 4412 | 4183 | 4233 | 4023 | 4123 | 3973 | 4068 | 4014 | 4076 | 4032 | 4142 | 4167 | 4140 | 4142 | 4251 | 4076 | 4446 | 4146 | 4251 | 4093 | 4293 | 4166 | 4141 | 4090 | 4026 | 4090 | 4240 | 3850 | 3794 | 4119
GCV of Coal
(as received)
Source 1 | kcal/kg | 3556 | 3529 | 3427 | 2893 | 2826 | 3177 | 3236 | 3047 | 3309 | 3135 | 3465 | 3458 | 3308 | 3202 | 3113 | 3082 | 3153 | 3406 | 3293 | 3601 | 3591 | 3578 | 3828 | 3525 | 3621 | 3947 | 3780 | 3675 | 3032 | 3071 | 3461
Source 2 | kcal/kg | 3386 | 3623 | 3381 | 2334 | 2818 | 2626 | 2512 | 2199 | 2918 | 2657 | 2451 | 2451 | 2708 | 2773 | 3142 | 2921 | 3044 | 3318 | 3036 | 3274 | 3138 | 3264 | 3332 | 3262 | 3169 | 3346 | 3141 | 2773 | 3053 | 3145 | 2940
GCV of Coal(as received) | kcal/kg | 3456 | 3531 | 3406 | 2789 | 2753 | 3020 | 3206 | 3015 | 3258 | 3119 | 3442 | 3371 | 3298 | 3179 | 3131 | 3068 | 3153 | 3334 | 3075 | 3426 | 3255 | 3460 | 3524 | 3449 | 3428 | 3680 | 3548 | 3628 | 3034 | 3075 | 3270
Opening coal stock | MT | 14346.84 | 80572.02 | 113341.32 | 44612.07 | 49951.09 | 71732.4 | 143264.8 | 94389.48 | 62394.83 | 73867.17 | 34830.82 | 31877.14 | 31877.14 | 41296.81 | 71767.49 | 98946.81 | 80980.11 | 34868.21 | 26432.22 | 21426.28 | 50055.71 | 75536.13 | 70607.74 | 81846.23 | 110834.65 | 133255.95 | 201002.71 | 222279.94 | 192662.34 | 123806.38 | 80314.28
Quantum of Coal received
WCL | MT | 214645.08 | 268222.38 | 246922.3 | 104197.45 | 155742.5 | 146182.65 | 170214.51 | 119173.93 | 155291.84 | 214146.75 | 164141.65 | 159375.17 | 209874.01 | 251193.61 | 207803.65 | 163550.28 | 141521.86 | 152594.19 | 130482.87 | 148595.34 | 119734.83 | 154654.7 | 139165.01 | 205570.78 | 132342.7 | 164769.71 | 117109.61 | 73468.54 | 79857.1 | 151533.29 | 169445.14
MCL | MT | 0 | 0 | 0 | 15034.6 | 57169.3 | 47308.26 | 7439.42 | 7414.61 | 10794.64 | 0 | 3803 | 21873.86 | 3716.66 | 14515.07 | 19822.64 | 14796.73 | 7464.37 | 22818.91 | 29810.6 | 22240.59 | 18750.05 | 15005.51 | 3465.65 | 33412.28 | 3774.8 | 25822.04 | 0 | 0 | 0 | 11873.52 | 7954.16
SCCL | MT | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 32254.34 | 0 | 0 | 7988.08 | 0 | 71.3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 3997.67 | 7882.84 | 7768.08 | 0 | 0 | 0 | 0
SECL | MT | 0 | 7780.8 | 0 | 3876.7 | 11688.22 | 11946.4 | 0 | 7712.14 | 7992.87 | 7558.59 | 0 | 3525.95 | 0 | 0 | 3988.95 | 7635.29 | 27660.57 | 27904.91 | 71530.59 | 92040.5 | 122856.54 | 67964.4 | 94893.83 | 31672.36 | 96902.13 | 90883.17 | 35600.54 | 4024.86 | 7971.24 | 11774.09 | 0
TOTAL |  | 214645.08 | 276003.18 | 246922.3 | 123108.75 | 224600.02 | 205437.31 | 177653.93 | 134300.68 | 174079.35 | 221705.34 | 167944.65 | 217029.32 | 213590.67 | 265708.68 | 239603.32 | 185982.3 | 176718.1 | 203318.01 | 231824.06 | 262876.43 | 261341.42 | 237624.61 | 237524.49 | 270655.42 | 237017.3 | 289357.76 | 160478.23 | 77493.4 | 87828.34 | 175180.9 | 177399.3
GCV of Coal
(as billed)
WCL | kcal/kg | 4216 | 4420 | 4183 | 4313 | 4060 | 4190 | 4057 | 4065 | 4072 | 4097 | 4168 | 4290 | 4227 | 4155 | 4215 | 4244 | 4276 | 4537 | 4168 | 4464 | 4215 | 4322 | 4173 | 4174 | 4172 | 4099 | 4172 | 4261 | 3915 | 3801 | 4030
MCL | kcal/kg | - | - | - | 3697 | 3691 | 3575 | 3444 | 3391 | 3385 | - | 3550 | 3550 | 3550 | 3399 | 3250 | 3250 | 3550 | 3501 | 3362 | 3250 | 3430 | 3327 | 3550 | 3425 | 3250 | 3517 | - | - | 3041 | 3179 | 3249
SCCL | kcal/kg | - | - | - | - | - | - | - | - | - | - | - | 3991 | - | - | 4229 | - | 4150 | - | - | - | - | - | - | - | 3550 | 4378 | 3089 | - | - | - | -
SECL | kcal/kg | - | 4150 | - | 4150 | 4150 | 3985 | - | 3938 | 4150 | 4150 | - | 4150 | - | - | 4150 | 4150 | 4150 | 4150 | 4150 | 4150 | 4076 | 4115 | 3986 | 4150 | 4013 | 3978 | 4037 | 3850 | - | 4313 | -
GCV of Coal(as billed) | kcal/kg | 4216 | 4412 | 4183 | 4233 | 4023 | 4123 | 3973 | 4068 | 4014 | 4076 | 4032 | 4142 | 4167 | 4140 | 4142 | 4251 | 4076 | 4446 | 4146 | 4251 | 4093 | 4293 | 4166 | 4141 | 4090 | 4026 | 4090 | 4240 | 3850 | 3794 | 4119
GCV of Coal
(as received)
WCL | kcal/kg | 3456 | 3529 | 3406 | 2893 | 2826 | 3177 | 3236 | 3047 | 3309 | 3135 | 3465 | 3458 | 3308 | 3202 | 3113 | 3082 | 3153 | 3406 | 3293 | 3601 | 3591 | 3578 | 3672 | 3525 | 3621 | 3947 | 3780 | 3675 | 3032 | 3071 | 3265
MCL | kcal/kg | - | - | - | 2334 | 2708 | 2615 | 2512 | 2199 | 2772 | - | 2451 | 2451 | 2704 | 2773 | 3142 | 2921 | 3044 | 3318 | 3036 | 2885 | 3138 | 3137 | 2880 | 3158 | 3870 | 3313 | - | - | 3053 | 3145 | 3372
SCCL | kcal/kg | - | - | - | - | - | - | - | - | - | - | - | 3516 | - | - | 3633 | - | 3633 | - | - | - | - | - | - | - | 2884 | 3346 | 3141 | - | - | - | -
SECL | kcal/kg | - | 3623 | - | 1766 | 1994 | 2702 | - | 3300 | 2918 | 2657 | - | 3835 | - | - | 3028 | 3038 | 3178 | 2954 | 2692 | 3274 | 2946 | 3264 | 3332 | 3262 | 3169 | 3328 | 2874 | 2773 | - | 3057 | -
GCV of Coal(as received) | kcal/kg | 3456 | 3531 | 3406 | 2789 | 2753 | 3020 | 3206 | 3015 | 3258 | 3119 | 3442 | 3371 | 3298 | 3179 | 3131 | 3068 | 3153 | 3334 | 3075 | 3426 | 3255 | 3460 | 3524 | 3449 | 3428 | 3680 | 3548 | 3628 | 3034 | 3075 | 3270
Landed Price of Coal
WCL | kcal/kg | 3733.75 | 3474.76 | 3531.58 | 3061.88 | 3090.47 | 3083.5 | 2990.36 | 3101.53 | 3109.67 | 3099.7 | 3484.21 | 3583.21 | 4379.26 | 3963.72 | 4357.68 | 5077.12 | 4255.31 | 3800.11 | 3676.51 | 4097.01 | 4158.46 | 3978.67 | 4859.09 | 4857.72 | 5149.1642 | 4787.9865 | 4999.6818 | 4961.6991 | 5141.87 | 5046.6 | 4766.28
SCCL | kcal/kg | FY 2023-24 June: 5279.65; FY 2024-25 April: 3481.2; FY 2024-25 May: 8116.9; FY 2024-25 June: 5049.63
SECL | kcal/kg | FY 2023-24 June: 2702.37; FY 2023-24 July: 2785.47; FY 2023-24 August: 2832.43; FY 2023-24 September: 2785.96; FY 2023-24 October: 2951.22; FY 2023-24 November: 2942.66; FY 2023-24 December: 4080.09; FY 2023-24 January: 4058.82; FY 2023-24 February: 4122.97; FY 2023-24 March: 3882.55; FY 2024-25 April: 4115.6688; FY 2024-25 May: 4086.4328; FY 2024-25 June: 3902.9044; FY 2024-25 July: 4029.2197; FY 2024-25 September: 4121.7247
MCL | kcal/kg | FY 2023-24 April: 6058.46; FY 2023-24 May: 2543.85; FY 2023-24 June: 2651.97; FY 2023-24 July: 2549.62; FY 2023-24 August: 2447.31; FY 2023-24 September: 2655.95; FY 2023-24 October: 2481.67; FY 2023-24 November: 2507.68; FY 2023-24 December: 4308.08; FY 2023-24 January: 4349.09; FY 2023-24 February: 4422.59; FY 2023-24 March: 4201.15; FY 2024-25 April: 6321.94; FY 2024-25 May: 4348.58; FY 2024-25 August: 4611.9; FY 2024-25 September: 4078.72; FY 2024-25 October: 4036.71
Landed Price of Coal | kcal/kg | 3733.75 | 3474.76 | 3531.58 | 3061.88 | 3090.47 | 3083.5 | 2990.36 | 3101.53 | 3109.67 | 3099.7 | 3484.21 | 3583.21 | 4442.44 | 3915.77 | 4249.45 | 4817.14 | 3982.27 | 3555.35 | 3315.46 | 3576.6 | 4147.38 | 4045.44 | 4581.13 | 4691.34 | 4739.99 | 4640.06 | 4787.32 | 4950.22 | 5093.77 | 4918.84 | 4733.56
Transit Loss (Coal)
WCL | % | 0.78862 | 0.7833 | 0.78003 | 0.78319 | 0.80883 | 0.78212 | 0.78309 | 0.92315 | 0.78265 | 0.78119 | 0.77888 | 0.78201 | 0.78296 | 0.78409 | 0.77985 | 0.7819 | 0.80789 | 0.79454 | 0.78589 | 0.78101 | 0.78287 | 0.78376 | 0.7838 | 0.77765 | 0.78722 | 0.76251 | 0.77599 | 0.77941 | 0.78423 | 0.78335 | 0.80229
MCL | % | 0 | 0 | 0 | 0.78929 | 0.78762 | 0.7853 | 0.78564 | 0.78055 | 0.78082 | 0 | 0.77853 | 0.77862 | 0.77026 | 0.7849 | 0.78451 | 0.77227 | 0.79952 | 0.78907 | 0.78564 | 0.78049 | 0.78063 | 0.78451 | 0.78072 | 0.77816 | 0.76996 | 0.77167 | 0 | 0 | 0 | 0.78239 | 0.7852
SCCL | % | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.78238 | 0 | 0 | 0.77807 | 0 | -1.7699 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.77439 | 0.78041 | 0 | 0 | 0 | 0
SECL | % | 0 | 0.78509 | 0 | 0.77121 | 0.78931 | 0.78318 | 0 | 0.78041 | 0.78038 | 0.7796 | 0 | 5.086 | 0 | 0 | 0.77979 | 0.77983 | 0.85504 | 0.79556 | 0.78242 | 0.77997 | 0.78524 | 0.79179 | 0.78098 | 0.7797 | 0.81431 | 0.77245 | 0.78081 | 0.78977 | 0.79032 | 0.7795 | 0
TOTAL | % | 0.78862 | 0.78335 | 0.78003 | 0.78356 | 0.80241 | 0.78291 | 0.7832 | 0.9071 | 0.76464 | 0.78114 | 0.77888 | 0.85476 | 0.78274 | 0.78414 | 0.78018 | 0.78105 | 0.81391 | 0.79407 | 0.78479 | 0.7806 | 0.78383 | 0.78611 | 0.78263 | 0.77795 | 0.79808 | 0.76677 | 0.77728 | 0.77995 | 0.78478 | 0.78303 | 0.80152
Quantum of Coal fired
Source 1 | MT | 225470 | 209778 | 214153 | 191838 | 219261 | 183656 | 106117 | 183176 | 206074 | 210233 | 206981 | 219983 | 204171 | 235238 | 212424 | 203949 | 222830 | 211754 | 236830 | 234247 | 235861 | 242553 | 226286 | 241667 | 214596 | 221611 | 139201 | 107111 | 156684.3 | 218673 | 218215
Source 2 | MT
TOTAL | MT | 225470 | 209778 | 214153 | 191838 | 219261 | 183656 | 106117 | 183176 | 206074 | 210233 | 206981 | 219983 | 204171 | 235238 | 212424 | 203949 | 222830 | 211754 | 236830 | 234247 | 235861 | 242553 | 226286 | 241667 | 214596 | 221611 | 139201 | 107111 | 156684.3 | 218673 | 218215
GCV of Coal (as fired)
Source 1 | kcal/kg
Source 2 | kcal/kg
GCV of Coal (as fired) | kcal/kg | 3277 | 3172 | 3203 | 2796 | 2790 | 2953 | 3153 | 3190 | 3238 | 3156 | 3354 | 3345 | 3308 | 3156 | 3108 | 2902 | 3003 | 3082 | 3210 | 3300 | 3170 | 3340 | 3409 | 3401 | 3404 | 3391 | 3334 | 3213 | 3168 | 3053 | 3096
Quantum of secondary fuel oil fired
LDO | kL | 18.463 | 36.927 | 84.622 | 52.242 | 10.77 | 1.539 | 218.24 | 40.003 | 26.156 | 69.238 | 3.077 | 18.463 | 49.234 | 0 | 13.847 | 36.926 | 21.54 | 0 | 0 | 0 | 16.925 | 9.232 | 0 | 0 | 3.077 | 12.309 | 116.934 | 0 | 86.163 | 10.77 | 15.386
FO | kL | 184.634 | 558.512 | 118.474 | 1186.262 | 644.347 | 232.325 | 209.883 | 260.023 | 301.566 | 241.56 | 555.434 | 278.486 | 249.299 | 58.466 | 249.252 | 292.334 | 100.01 | 127.703 | 93.854 | 46.158 | 120.01 | 55.39 | 92.317 | 80.008 | 235.405 | 98.476 | 229.252 | 43.082 | 590.822 | 672.37 | 158.477
Total | KL | 203.097 | 595.439 | 203.096 | 1238.504 | 655.117 | 233.864 | 428.123 | 300.026 | 327.722 | 310.798 | 558.511 | 296.949 | 298.533 | 58.466 | 263.099 | 329.26 | 121.55 | 127.703 | 93.854 | 46.158 | 136.935 | 64.622 | 92.317 | 80.008 | 238.482 | 110.785 | 346.186 | 43.082 | 676.985 | 683.14 | 173.863
GCV of secondary fuel oil fired
LDO | kcal/L | 10494 | 10494 | 10494 | 10494 | 10494 | 10742 | 10742 | 10742 | 10742 | 10742 | 10742 | 10742 | 10520 | 10520 | 10520 | 10520 | 10520 | 10520 | 10520 | 10520 | 10520 | 10520 | 10520 | 10520 | 10520 | 10520 | 10795 | 10795 | 10795 | 10795 | 10795
FO | kcal/L | 10214 | 10214 | 10214 | 10214 | 10214 | 10216 | 10216 | 10216 | 10216 | 10216 | 10216 | 10216 | 10216 | 10266 | 10266 | 10266 | 10266 | 10266 | 10266 | 10266 | 10266 | 10266 | 10266 | 10266 | 10266 | 10266 | 10151 | 10151 | 10151 | 10151 | 10151
Landed price of secondary fuel oil
LDO | Rs./kL | 51207 | 51207 | 72411 | 72824 | 72824 | 72812 | 70202 | 73546 | 73546 | 73546 | 73546 | 73546 | 74402.07 | 74402.07 | 74402.07 | 74402.07 | 74402.07 | 74402.07 | 74402.07 | 74402.07 | 74402.07 | 74402.07 | 74402.07 | 74402.07 | 74402 | 74402 | 74551 | 74551 | 74551 | 74551 | 74551
FO | Rs./kL | 47814 | 47814 | 65122 | 65555 | 65555 | 63971 | 63971 | 59347 | 59347 | 59347 | 59347 | 59347 | 54377.87 | 54377.87 | 54377.87 | 54377.87 | 54377.87 | 54377.87 | 54377.87 | 54377.87 | 54377.87 | 54377.87 | 54377.87 | 54378 | 54378 | 54378 | 54378 | 54378 | 54378 | 54378 | 54378
Table 5: Format for submission of revenue reconciliation
Station/ | Revenue item 1 | FY 2022-23 April: Revenue item 2; FY 2022-23 May: ….; FY 2022-23 June: Sub-total; FY 2022-23 July: Non-Tariff income; FY 2022-23 August: Total Revenue as per accounts
Unit | (please specify) | FY 2022-23 April: (please specify)
Bhusawal Unit 3
Chandrapur Units 3-7
Khaperkheda Units 1-4
Koradi Unit 6
Nashik Units 3-5
Uran
Paras Units 3&4
Parli Units 6&7
Khaperkheda Unit 5
Bhusawal Units 4&5
Koradi Units 8-10
Chandrapur Units 8&9
Parli Unit 8
Koyna
Bhira TR
Tillari
Other Hydro
Lease Rent-Hydro
Any other (please specify)
Total
Table 6: Format for submission of details of utilisation of revenue from sale of fly ash
Sl. No. | Particulars | FY 2022-23 April: FY 2022-23; FY 2022-23 May: FY 2023-24; FY 2022-23 June: FY 2024-25
|  | (Rs. Crore) | (Rs. Crore) | (Rs. Crore)
A | Fly Ash Utilisation Fund
1 | Opening balance
2 | Addition during the year
3 | Utilisation during the year
4 | Closing balance
B | Utilisation of the fund
1 | Activity 1
2 | Activity 2
3 | ……..
Table 7: Format for submission of fuel details
Particulars | UoM | FY 2022-23 April: 2023; FY 2022-23 July: 2024
|  | Oct | Nov | Dec | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep
Opening coal stock | MT | 26432.22 | 21426.28 | 50055.71 | 75536.13 | 70607.74 | 81846.23 | 110834.65 | 133255.95 | 201002.71 | 222279.94 | 192662.34 | 123806.38
Quantum of Coal received
WCL | MT | 130482.87 | 148595.34 | 119734.83 | 154654.7 | 139165.01 | 205570.78 | 132342.7 | 164769.71 | 117109.61 | 73468.54 | 79857.1 | 151533.29
MCL | MT | 29810.6 | 22240.59 | 18750.05 | 15005.51 | 3465.65 | 33412.28 | 3774.8 | 25822.04 | 0 | 0 | 0 | 11873.52
SCCL | MT | 0 | 0 | 0 | 0 | 0 | 0 | 3997.67 | 7882.84 | 7768.08 | 0 | 0 | 0
SECL | MT | 71530.59 | 92040.5 | 122856.54 | 67964.4 | 94893.83 | 31672.36 | 96902.13 | 90883.17 | 35600.54 | 4024.86 | 7971.24 | 11774.09
TOTAL | MT | 231824.06 | 262876.43 | 261341.42 | 237624.61 | 237524.49 | 270655.42 | 237017.3 | 289357.76 | 160478.23 | 77493.4 | 87828.34 | 175180.9
GCV of Coal
(as billed)
Source 1 | kcal/kg
Source 2 | kcal/kg
…… | kcal/kg
GCV of Coal
(as received)
Source 1 | kcal/kg
Source 2 | kcal/kg
…… | kcal/kg
Landed Price of Coal
WCL | kcal/kg | 3676.51 | 4097.01 | 4158.46 | 3978.67 | 4859.09 | 4857.72 | 5149.1642 | 4787.9865 | 4999.6818 | 4961.6991 | 5141.87 | 5046.6
SCCL | kcal/kg | 2024 Apr: 3481.2; 2024 May: 8116.9; 2024 Jun: 5049.63
SECL |  | 2951.22 | 2942.66 | 4080.09 | 4058.82 | 4122.97 | 3882.55 | 4115.6688 | 4086.4328 | 3902.9044 | 4029.2197 |  | 4121.7247
MCL |  | 2481.67 | 2507.68 | 4308.08 | 4349.09 | 4422.59 | 4201.15 | 6321.94 | 4348.58 |  |  | 4611.9 | 4078.72
…… | kcal/kg
Transit Loss (Coal)
WCL | % | 0.78589 | 0.78101 | 0.78287 | 0.78376 | 0.7838 | 0.77765 | 0.78722 | 0.76251 | 0.77599 | 0.77941 | 0.78423 | 0.78335
MCL | % | 0.78564 | 0.78049 | 0.78063 | 0.78451 | 0.78072 | 0.77816 | 0.76996 | 0.77167 | 0 | 0 | 0 | 0.78239
SCCL | % | 0 | 0 | 0 | 0 | 0 | 0 | 0.79091 | 0.77439 | 0.78041 | 0 | 0 | 0
SECL | % | 0.78242 | 0.77997 | 0.78524 | 0.79179 | 0.78098 | 0.7797 | 0.81431 | 0.77245 | 0.78081 | 0.78977 | 0.79032 | 0.7795
TOTAL | % | 0.78479 | 0.7806 | 0.78383 | 0.78611 | 0.78263 | 0.77795 | 0.79808 | 0.76677 | 0.77728 | 0.77995 | 0.78478 | 0.78303
Quantum of Coal fired
Source 1 | MT
Source 2 | MT
GCV of Coal (as fired)
Source 1 | kcal/kg
Source 2 | kcal/kg
…… | kcal/kg
Quantum of secondary fuel oil fired
LDO | kL
…… | kL
GCV of secondary fuel oil fired
LDO | kcal/L
…… | kcal/L
Landed price of secondary fuel oil
LDO | Rs./kL | 74402.07 | 74402.07 | 74402.07 | 74402.07 | 74402.07 | 74402.07 | 74402 | 74402 | 74551 | 74551 | 74551 | 74551
FO | Rs./kL | 54377.87 | 54377.87 | 54377.87 | 54377.87 | 54377.87 | 54378 | 54378 | 54378 | 54378 | 54378 | 54378 | 54378

## Sheet3 (hidden)
Type of Data Gap | Query
Multi Year Tariff for FY 2025-26 and FY 2029-30 |  | 1
103. MSPGCL, in Table 180 of the Petition, requested the Commission to allow expenses for flexible operation of coal fired generating units. In this regard:
104. MSPGCL, in Table 184 of the Petition, requested the Commission to allow ash transportation and infrastructure development for MSPGCL stations. In this regard:
105. MSPGCL, in Table 185 of the Petition, requested the Commission to allow IT expenses for MSPGCL stations. In this regard, MSPGCL to submit the basis for projection of such expenses along with the documentary evidence for such assumptions.
106. MSPGCL, in Table 206 of the Petition, submitted the provisional tariff for Bhusawal Unit 6. In this regard:
a. MSPGCL to submit the basis for projection of such expenses along with the documentary evidence for such assumptions.
a. MSPGCL to submit the physical progress and financial progress of Bhusawal Unit 6 till date.
b. MSPGCL to submit the anticipated commissioning of the Emission Control System based on the physical and financial progress and revise the models based on the same.
b. MSPGCL to submit the status of installation of FGDs in its generating stations viz., Commission’s in-principle approvals, tendering, placement of work orders, physical progress till date, expected date of capitalization etc.
b. MSPGCL to submit the status of such infrastructure development in its generating stations viz., Commission’s in-principle approvals, tendering, placement of work orders, physical progress till date, expected date of capitalization etc.
b. MSPGCL to submit the status of such retrofitting in its generating stations viz., Commission’s in-principle approvals, tendering, placement of work orders, physical progress till date, expected date of capitalization etc.
100. MSPGCL, in Table 175 of the Petition, submitted the fuel expenses including reagents for FGD and SCR systems. MSPGCL to provide the assumptions for the cost of reagents considered along with the supporting computations and documentary evidence for the same.100. MSPGCL, in Table 175 of the Petition, submitted the fuel expenses including reagents for FGD and SCR systems. MSPGCL to provide the assumptions for the cost of reagents considered along with the supporting computations and documentary evidence for the same.
101. MSPGCL, in Table 178 of the Petition, submitted the proposed capitalisation for FY 2025-26 to FY 2029-30. MSPGCL to submit the cost-benefit analysis of each of the scheme proposed for capitalisation during FY 2025-26 to FY 2029-30.101. MSPGCL, in Table 178 of the Petition, submitted the proposed capitalisation for FY 2025-26 to FY 2029-30. MSPGCL to submit the cost-benefit analysis of each of the scheme proposed for capitalisation during FY 2025-26 to FY 2029-30.
102. MSPGCL, in Table 179 of the Petition, submitted the proposed capitalisation for FY 2025-26 and FY 2029-30 including installation of FGD. In this regard:102. MSPGCL, in Table 179 of the Petition, submitted the proposed capitalisation for FY 2025-26 and FY 2029-30 including installation of FGD. In this regard:
98. The Commission, in the Order dated 8 March, 2022 in Case No. 133 of 2021, approved the normative SHR of 2350 kcal/kWh for Koradi Unit 6, as proposed by MSPGCL. Whereas, in the present Petition, MSPGCL has claimed the SHR of 2456 kcal/kWh for Koradi Unit 6. MSPGCL to submit the justification for seeking revision of the SHR of Koradi Unit 6.98. The Commission, in the Order dated 8 March, 2022 in Case No. 133 of 2021, approved the normative SHR of 2350 kcal/kWh for Koradi Unit 6, as proposed by MSPGCL. Whereas, in the present Petition, MSPGCL has claimed the SHR of 2456 kcal/kWh for Koradi Unit 6. MSPGCL to submit the justification for seeking revision of the SHR of Koradi Unit 6.
| 99. MSPGCL, in Section 14.3.1 of the Petition, mentioned that it has considered escalation of 5% for Raw and washed coal on weighted average prices of coal for the period from October 2023 to September 2024. MSPGCL to submit station-wise and month-wise details of fuel from October 2023 to September 2024 in the format below:99. MSPGCL, in Section 14.3.1 of the Petition, mentioned that it has considered escalation of 5% for Raw and washed coal on weighted average prices of coal for the period from October 2023 to September 2024. MSPGCL to submit station-wise and month-wise details of fuel from October 2023 to September 2024 in the format below: | 1
a. MSPGCL to submit the proposed capitalisation separately for FGD and other schemes.a. MSPGCL to submit the proposed capitalisation separately for FGD and other schemes.
True-up for FY 2023-24
62. MSPGCL to submit the copies of fuel bills for the months of April, July, October 2023 and January 2024 clearly segregating the same for each Station/Unit.
63. MSPGCL, in Table 72 of the Petition, submitted the Availability and PLF for all its Stations for FY 2023-24. MSPGCL also submitted the SLDC certificates for actual Availability and PLF for FY 2023-24. It has been observed that the SLDC certificates does not include the actual overall Availability and PLF for each Station/Unit for the year as submitted in Table 72. MSPGCL to submit the certification of SLDC for the actual overall Availability and PLF as submitted in Table 72.
64. MSPGCL, in para 8.1.1 of the Petition, submitted key reasons for low Availability of its Stations in FY 2023-24. MSPGCL to submit the generation loss for each Station (old and new separately) on account of each reason.
65. The Commission, in the Order dated 8 March, 2022 in Case No. 133 of 2021, approved the normative SHR of 2350 kcal/kWh for Koradi Unit 6, as proposed by MSPGCL. Whereas, in the present Petition, MSPGCL has claimed the SHR of 2456 kcal/kWh for Koradi Unit 6. MSPGCL to submit the justification for seeking revision of the SHR of Koradi Unit 6.
66. MSPGCL, in para 8.1.2 of the Petition, submitted key reasons for high SHR of its Stations in FY 2023-24. MSPGCL to submit the increase in fuel cost for each Station (old and new separately) on account of each reason.
67. MSPGCL, in para 8.1.3 of the Petition, submitted key reasons for high SFOC of its Stations in FY 2023-24. MSPGCL to submit the increase in fuel cost (in Rs. Crore and in Rs/kWh) for each Station (old and new separately) on account of each reason.
68. MSPGCL, in para 8.1.4 of the Petition, submitted key reasons for high Auxiliary Consumption of its Stations in FY 2023-24. MSPGCL to submit the generation loss for each Station (old and new separately) on account of each reason.
69. With regards to coal related issues faced by MSPGCL in FY 2023-24, MSPGCL to submit the details of GCV on “As Received” and “As Billed” basis from each coal source along with sample documentary evidence for substantiating such difference.
70. MSPGCL, in para 8.1.2.3 of the Petition, submitted that the actual supply of gas for Uran was 1.31 MMSCMD against the overall requirement of 3.5 MMSCMD. MSPGCL to submit the supporting documents to substantiate the actual gas receipt in FY 2023-24.
71. MSPGCL in para 8.2.2 submitted that revised normative fuel cost for FY 2023-24 has been worked out considering GCV loss of 750 kCal/kg. MPSGCL to also submit the scenario of revised normative fuel cost for FY 2023-24 considering the GCV loss as approved by the Commission for FY 2023-24.
72. MSPGCL to submit the documentary evidence of all the assets put to use during FY 2023-24 clearly segregating the same station/unit wise.
73. MSPGCL, in Table 83 of the Petition, submitted the actual water charges for FY 2023-24 as Rs. 454.03 Crore. In this regard, MSPGCL to submit the supporting documents to substantiate the actual water charges claimed for each Station/Unit.
74. MSPGCL, in Table 83 of the Petition, submitted the actual other charges for FY 2023-24 as Rs. 292.68 Crore. In this regard, MSPGCL to submit the details of the same alongwith supporting documents to substantiate the actual other charges for each Station/Unit.
75. MSPGCL, in Table 44 of the Petition, submitted the impact of pay revision for FY 2023-24 as Rs. 289.62 Crore. MSPGCL to submit the details of impact of pay revision for FY 2023-24.
76. MSPGCL, in Table 84 of the Petition, submitted the details of the Other charges for SHP and Koyna 2023-24. These values does not match with the value submitted in Form 10 submitted along with the Petition. MSPGCL to reconcile the same and revise the claim accordingly.
77. MSPGCL, in para 8.2.5.7 of the Petition, submitted that it has considered the normative O&M expenses for Koradi Unit 6 as two-thirds of the amount approved by the Commission for FY 2021-22 in the MTR Order, escalated for FY 2023-24, accounting for the common auxiliaries that cannot be dismantled and accordingly calculated the revised normative O&M expenses for Koradi Unit 6 for FY 2023-24. MSPGCL to submit detailed justification for such claim along with relevant documentary evidence.
78. MSPGCL, in Table 87 of the Petition, claimed IT Expenses of Rs. 42.45 Crore in addition to the normative O&M Expenses. In this regard, MSPGCL to submit the detailed break up with justification for claim of such expenses as it is already considered under A&G expenses.
79. MSPGCL to submit the supporting documents to substantiate the actual rate of interest on long term loan claimed for each Station/Unit for FY 2023-24.
80. MSPGCL, in Table 89 of the Petition, claimed the actual finance charges of Rs. 28.31 Crore. MSPGCL to submit the supporting documents to substantiate the actual finance charges claimed for each Station/Unit.
81. MSPGCL, in para 8.2.8.11 of the Petition, submitted loss of interest on Late Payment Surcharges of Rs. 1003.96 Crore. MSPGCL to submit the detailed calculation of the same in MS Excel with appropriate formulae and linkages.
82. MSPGCL, in Table 92 of the Petition, claimed the actual interest on working capital of Rs. 1818.53 Crore. MSPGCL to submit the supporting documents to substantiate the actual interest on working capital claimed for each Station/Unit.
83. MSPGCL, in Table 99, submitted adjustments in Non Tariff Income for Rs. 317.98 Crore. MSPGCL to submit the station-wise/unit-wise reconciliation for the same in MS Excel with appropriate formulae and linkages.
84. MSPGCL, in para 8.6.1.5 of the Petition, requested to allow it to raise differential bill toward compensation charges based on the final true-up for FY 2023-24 due to actual outage period from 14 November, 2023 till June 2024, and as per the fixed charges approved under the MTR Order. MSPGCL to submit the detailed calculation of the same in MS Excel with appropriate formulae and linkages along with all the requisite documentary evidence.
85. MSPGCL, in Table 67 of the Petition, submitted expenses for CMAg projects to the tune of Rs. 3.21 Crore for FY 2023-24 along with the Auditor Certificate substantiating the same. MSPGCL to submit relevant documentary evidence substantiating the such expenses.
General |  | 4
10. MPSGCL in para 6.1.1.10 has claimed UDL discharged during FY 2022-23 to the extent of Rs 121.44 Crore for Koradi Unit 8-10 and claimed the additional capitalization which is beyond the cut-off date. In this regard, MSPGCL to submit the following:
11. MSPGCL, in Table 24 of the Petitioner, submitted the ARR to be allowed on account of LD finalization for Koradi Units 8-10 during the period from FY 2016-17 to FY 2021-22. MSPGCL to submit the computations of the same in MS Excel with appropriate formulaes and linkages.
12. MSPGCL in Para 6.1.2.2 of the Petition submitted that LD Amount of Rs 250.29 Crore has been levied on BHEL for Bhusawal Units 4 and 5, while in the last line it is mentioned that the actual LD stands at Rs 250.54 Crore. Petitioner to confirm the actual LD amount and accordingly revise its computations.
13. MSPGCL, in page 74 of the Petition, submitted the additional expenses capitalization of Rs. 20.76 Crore in FY 2022-23. MSPGCL to submit the justification for the same as to under which provision of the Regulations, these expenses have been claimed.
14. MSPGCL, in Table 25 of the Petition, submitted the impact of additional capitalization and LD finalization amount of Bhusawal Units 4 & 5. MSPGCL to submit the computations of the same in MS Excel with appropriate formulae and linkages.
16. MSPGCL, in Table 27 of the Petition, revised the discharge of liabilities for Parli Unit 8 from FY 2016-17 to FY 2021-22. In this regard:
17. MSPGCL, in Table 29 of the Petition, submitted the impact of change in discharge of liabilities for Parli Unit 8. MSPGCL to submit the computations of the same in MS Excel with appropriate formulae and linkages.
18. MSPGCL, in Table 30 of the Petition, submitted the impact of correction approved in Case No. 132 of 2023. MSPGCL to submit the computations of the same in MS Excel with appropriate formulae and linkages.
19. MSPGCL, in para 6.2.7 of the Petition, submitted that it had inadvertently failed to include the expenses amounting to Rs. 27.99 Crore for the period from FY 2019-20 to FY 2021-22 towards the consumption of lubricants and consumables and commission to agents in the MTR petition. MSPGCL to submit documentary evidence for the same along with a reconciliation statement. Further, MPSGCL to submit the reasons as to why this has been claimed again when the same was rejected in the Review Petition by the Commission.
2. MSPGCL to submit the CAG Audit Reports for FY 2022-23 and FY 2023-24.
20. MSPGCL has submitted the details of the actual O&M expenses for FY 2022-23 in Table 44 page 104 including pay revision. MSPGCL to re-submit the breakup of O&M Expenses and Pay revision separately as done in Table no. 84 for FY 2023-24 of the petition.
21. MSPGCL has not the submitted the Statement showing break up of Revenue & Expenses for FY 2022-23 between Un-regulated Business and Regulated Business in Annexure: 1 of Audited Annual Accounts of MSPGCL. By mistake MSPGCL has submitted statement showing break up of Revenue & Expenses between Un-regulated Business and Regulated Business for FY 2023-234 twice. MSPGCL to submit the same.
22. MSPGCL in form 2.1 of Bhusawal unit 3 excel workbook has submitted the Annual net generation for FY 2024-25(Apr-Sep) as 876.55 MU, which doesn’t match with the Table 12 of 434.41 MU. MSPGCL to revise the figure accordingly.
23. MSPGCL to rectify the deficiencies in the Tariff Formats submitted, for each Station, as detailed in the Table below:
| 24. MSPGCL to submit the details regarding the coal availability for each Station (old and new separately) separately (in MS Excel) in the specified format below: | 1
| 25. MSPGCL to submit the actual month wise fuel details for each Station (old and new separately) separately (in MS Excel) in the specified format below: | 1
| 26. MSPGCL to submit the year wise and station wise reconciliation of revenue as per the audited accounts for FY 2022-23, FY 2023-24 and FY 2024-25 in MS Excel in the format prescribed below: | 1
| 27. MSPGCL to submit the details of utilisation of revenue from sale of fly ash deposited into Fly Ash Utilisation Fund in the following format: | 1
28. In accordance with Regulation 22.5 of the MYT Regulations, 2019 and Regulation 23.5 of the MYT Regulations, 2019, MSPGCL to make detailed submission on each of the following points:
3. MSPGCL in Para 4.6.2 of the Petition has mentioned the key findings of the Committee Report by the Committee formulated by CEA regarding O&M Expenses of Koradi Units 8-10. MSPGCL to submit the complete copy of the Committee Report in this regard.
4. MSPGCL in Para 5.1.1.1 in response to compliance to the Commission’s directive regarding Grade Slippage has mentioned the various steps taken by it, but the outcome of various steps in terms of improvement achieved have not been elaborated. MSPGCL to elaborate the outcome of various steps taken regarding Grade Slippage.
5. MSPGCL in Table 14 of the Petition has submitted the Gross Generation from Uran in Combined Cycle and Open Cycle for FY 2022-23 and FY 2023-24. MSPGCL to submit the similar details for first half of FY 2024-25 in Table 14.
6. Regarding Co-firing of Biomass Pellets, MSPGCL for Khaperkheda TPS submitted that the tender has been finalized and a LoA was issued to M/s Avaneesh Chemicals. MSPGCL to submit the following in this regard:
7. MSPGCL to submit the MS-Excel computations of the Annexure 11 on Detailed working of the impact of LD and UDL in case of Koradi units 8-10 with appropriate formulae and linkages.
9. MSPGCL, in Form 1 of the Formats submitted along with the Petition, claimed depreciation and interest on loan of HO assets. MSPGCL to submit the detailed calculation of such depreciation and interest in loan in MS Excel with appropriate formulae and linkages along with reconciliation with the values as per the Audited Accounts for FY 2022-23 and FY 2023-24.
a. Copy of Bid Evaluation Report
a. Least cost approach adopted while undertaking the DPR schemes.
a. MSPGCL to submit the package wise and party wise details of liabilities discharged during each year certified by Statutory Auditor along with reconciliation with Audited accounts.
a. Reasons for delay in discharging these liabilities with supporting documents
a. Reasons for discharging these liabilities post cut-off-date with supporting documents
b. Copy of LoA
b. Details of Party wise liability discharged certified by Statutory Auditor along with reconciliation with Audited accounts
b. Details of Party wise liability discharged certified by Statutory Auditor alongwith reconciliation with Audited accounts
b. Mechanism put in place for monitoring the physical progress of projects with respect to their original schedule.
b. MSPGCL to submit the supporting documents to substantiate the discharge of liabilities clearly segregating the same package wise and year wise.
c. Impact on Year wise Fuel Expenses based on this LoA.
c. Optimum drawal of loans in accordance with the physical progress of the capital expenditure schemes, and efficient utilisation of such loans.
d. Detailed justification for the schemes that have not commenced during FY 2022-23 but approved for the year.
e. Detailed justification for the schemes that have not commenced during FY 2023-24 but approved for the year.
f. Detailed justification for the schemes that have not commenced during FY 2024-25 but approved for the year.
MSPGCL has not submitted the duly filled in Accounting Statement formats specified in the MYT Regulations, 2019. MSPGCL to submit the same for FY 2022-23, FY 2023-24 and FY 2024-25.
15. MPSGCL in para 6.1.3 has claimed UDL discharged during FY 2022-23 and FY 2023-24 during FY 2022-23 and FY 2023-24. In this regard, MSPGCL to submit the following: (Chandrapur 8-9)
29. MSPGCL, in Form 3.3 of the Tariff Formats, has submitted the item wise details of A&G expenses. MSPGCL to submit the justification for the following heads of A&G expenses as shown in the Table below:29. MSPGCL, in Form 3.3 of the Tariff Formats, has submitted the item wise details of A&G expenses. MSPGCL to submit the justification for the following heads of A&G expenses as shown in the Table below:
30. Regulation 28.6 of the MYT Regulations, 2019 specify that the depreciation computations shall be submitted separately for assets added upto 31 March, 2020 and assets added on or after 1 April, 2020. MSPGCL to submit the depreciation for each of year of the Control Period from FY 2022-23 to FY 2024-25 in compliance with the Regulation 28.6 of the MYT Regulations, 2019.30. Regulation 28.6 of the MYT Regulations, 2019 specify that the depreciation computations shall be submitted separately for assets added upto 31 March, 2020 and assets added on or after 1 April, 2020. MSPGCL to submit the depreciation for each of year of the Control Period from FY 2022-23 to FY 2024-25 in compliance with the Regulation 28.6 of the MYT Regulations, 2019.
31. MSPGCL to submit the computations of escalation rate considered for computation of normative O&M expenses for FY 2022-23, FY 2023-24, and FY 2024-25 in MS Excel with appropriate formulae and linkages.31. MSPGCL to submit the computations of escalation rate considered for computation of normative O&M expenses for FY 2022-23, FY 2023-24, and FY 2024-25 in MS Excel with appropriate formulae and linkages.
32. MSPGCL to submit the ITR acknowledgement for FY 2022-23 and FY 2023-24. 32. MSPGCL to submit the ITR acknowledgement for FY 2022-23 and FY 2023-24.
33. MSPGCL to provide the income tax assessment orders for AY 2023-24 and AY 2024-25.33. MSPGCL to provide the income tax assessment orders for AY 2023-24 and AY 2024-25.
8. MSPGCL submitted that the installed capacity of small hydro plants as 173 MW in the Table 9 of the Petition. In this regard, MSPGCL to submit the details of small hydro stations in the below specified format: Table 1
a. Miscellaneous expensesa. Miscellaneous expenses
b. Othersb. Others
c. HO/SE Coal/WMc. HO/SE Coal/WM
Prov True up 2024-25
86. MSPGCL to submit the copies of fuel bills for the months of April, July, and October 2024 clearly segregating the same for each Station Unit.
87. MSPGCL in para 10.3.1.4., submitted that the reagents for Flue Gas Desulphurization (FGD) and Selective Catalytic Reduction (SCR) systems, which are anticipated to be commissioned by September 2024, October 2024 and January 2025 for Khaperkheda Units 3-4, Koradi Unit 6 and Parli Units 6, 7 and 8 respectively, have been factored in. The cost of reagent has been computed as per norms for consumption of reagent as per Regulation 46.17 (B) MERC MYT (Second Amendment) Regulations 2023. MSPGCL to provide the assumptions for the cost of reagents with detailed computations considered along with the documentary evidence for the same.
88. As September 2024 and October 2024 are already over, MSPGCL to submit the current status of FGD and SGR commissioning at Khaperkheda Units 3-4 and Koradi Unit 6.
89. MSPGCL in Table 117 has proposed the station wise capitalization during FY 2024-25. In this regard, MSPGCL to submit the following:
90. MSPGCL, in Table 118 of the Petition, submitted the workings of escalation rate for FY 2024-25. MSPGCL to submit the computations of the same in MS Excel with appropriate formulae and linkages.90. MSPGCL, in Table 118 of the Petition, submitted the workings of escalation rate for FY 2024-25. MSPGCL to submit the computations of the same in MS Excel with appropriate formulae and linkages.
91. MSPGCL in Para 10.4.3.6 has mentioned that it has announced a pay revision vide circulars no. 546, 548 and 549 dated 09.08.2024. MSPGCL to provide the copy of circulars.91. MSPGCL in Para 10.4.3.6 has mentioned that it has announced a pay revision vide circulars no. 546, 548 and 549 dated 09.08.2024. MSPGCL to provide the copy of circulars.
92. MSPGCL has computed the impact of pay revision as per circular dated 09.08.2024 as Rs 302.24 Crore. MSPGCL to provide the detailed computations for the same along with the basis. 92. MSPGCL has computed the impact of pay revision as per circular dated 09.08.2024 as Rs 302.24 Crore. MSPGCL to provide the detailed computations for the same along with the basis.
a. Station-wise Actual amount capitalized during first half of FY 2024-25 with break up of DPR works and Non-DPR worksa. Station-wise Actual amount capitalized during first half of FY 2024-25 with break up of DPR works and Non-DPR works
b. Station-wise actual physical status of various schemes proposed to be capitalized in FY 2024-25 for DPR works and Non DPR works.b. Station-wise actual physical status of various schemes proposed to be capitalized in FY 2024-25 for DPR works and Non DPR works.
Revised FUP |  | 3
93. MSPGCL to submit the copies of fuel supply agreements executed for each Station/Unit.93. MSPGCL to submit the copies of fuel supply agreements executed for each Station/Unit.
| 94. MSPGCL to submit the details of Coal Supply Agreements for its stations in the format specified at Appendix 1.94. MSPGCL to submit the details of Coal Supply Agreements for its stations in the format specified at Appendix 1. | 1
| 95. MSPGCL to submit the details of Gas Supply Agreements for Uran GTPS in the format specified at Appendix 2.95. MSPGCL to submit the details of Gas Supply Agreements for Uran GTPS in the format specified at Appendix 2. | 1
| 96. MSPGCL to submit the details of Agreements executed for Secondary Fuel Oil for its stations in the format specified at Appendix 3.96. MSPGCL to submit the details of Agreements executed for Secondary Fuel Oil for its stations in the format specified at Appendix 3. | 1
97. MSPGCL, in Table 154 of the Petition, submitted the probable PLF based on optimistic and pessimistic cases. MSPGCL to submit the computations of the same in MS Excel with appropriate formulae and linkages along with the basis97. MSPGCL, in Table 154 of the Petition, submitted the probable PLF based on optimistic and pessimistic cases. MSPGCL to submit the computations of the same in MS Excel with appropriate formulae and linkages along with the basis
True-up for FY 2022-23
42. MSPGCL, in para 7.2.1.2 of the Petition, submitted that the actual supply of gas for Uran was 1.16 MMSCMD against the overall requirement of 3.5 MMSCMD. MSPGCL to submit the supporting documents to substantiate the actual gas receipt in FY 2022-23.
43. MSPGCL in para 7.3.5.5. submitted that revised normative fuel cost for FY 2022-23 has been worked out considering GCV loss of 750 kCal/kg. MPSGCL to also submit the scenario of revised normative fuel cost for FY 2022-23 considering the GCV loss of 650 kCal/kg as approved in provisional true-up for FY 2022-23.
44. MSPGCL to submit the documentary evidence of all the assets put to use during FY 2022-23 clearly segregating the same station/unit wise.
45. MSPGCL, in Table 43 of the Petition, submitted the details of Revised O&M Expenses for FY 2022-23. However, it is observed that there is a mismatch between the Water Charges claimed for Bhusawal Unit 3 in Table 43 (Rs 16.34 Crore) and Table 44 (Rs 13.85 Crore) and also for the total water charges. MSPGCL to submit the justification for the same and provide the reconciliation based on the Audited Accounts for FY 2022-23.
46. MSPGCL, in Table 44 of the Petition, submitted the actual water charges for FY 2022-23 as Rs. 322.72 Crore. In this regard, MSPGCL to submit the supporting documents to substantiate the actual water charges claimed for each Station/Unit.
47. MSPGCL, in Table 44 of the Petition, submitted the actual other charges for FY 2022-23 as Rs. 295.06 Crore. In this regard, MSPGCL to submit the details of the same supporting documents to substantiate the actual other charges for each Station/Unit.
48. MSPGCL, in Table 44 of the Petition, submitted the actual O&M Expenses including the impact of pay revision for FY 2022-23. MSPGCL to submit the detailed break-up of O&M Expenses excluding the impact of pay revision and the details of impact of pay revision for FY 2022-23.
49. MSPGCL, in Table 44 of the Petition, submitted the details of the Other charges for SHP and Koyna 2022-23. These values does not match with the value submitted in Form 10 submitted along with the Petition. MSPGCL to reconcile the same and revise the claim accordingly.
50. MSPGCL, in para 7.3.7.6 of the Petition, submitted that it has considered the normative O&M expenses for Koradi Unit 6 as two-thirds of the amount approved by the Commission for FY 2021-22 in the MTR Order, escalated for FY 2024-23, accounting for the common auxiliaries that cannot be dismantled and accordingly calculated the revised normative O&M expenses for Koradi Unit 6 for FY 2022-23. MSPGCL to submit detailed justification for such claim.
51. MSPGCL, in Table 48 of the Petition, claimed IT Expenses of Rs. 17.50 Crore in addition to the normative O&M Expenses. In this regard, MSPGCL to submit the detailed break up with justification for claim of such expenses as it is already considered under A&G expenses.
52. MSPGCL to submit the supporting documents to substantiate the actual rate of interest on long term loan claimed for each Station/Unit for FY 2022-23.
53. MSPGCL, in Table 50 of the Petition, claimed the actual finance charges of Rs. 27.67 Crore. MSPGCL to submit the supporting documents to substantiate the actual finance charges claimed for each Station/Unit.
54. MSPGCL, in para 7.3.10.10 of the Petition, submitted loss of interest on Late Payment Surcharges of Rs. 1114.08 Crore. MSPGCL to submit the detailed calculation of the same in MS Excel with appropriate formulae and linkages.
55. MSPGCL, in Table 52 of the Petition, claimed the actual interest on working capital of Rs. 1475.16 Crore. MSPGCL to submit the supporting documents to substantiate the actual interest on working capital claimed for each Station/Unit.
56. MSPGCL, in Table 57 of the Petition, inadvertently referred to Koyna as Pophali. MSPGCL to rectify the same.
57. MSPGCL, in Table 59, submitted adjustments in Non Tariff Income for Rs. 218.80 Crore. MSPGCL to submit the station-wise/unit-wise reconciliation for the same in MS Excel with appropriate formulae and linkages.
59. MSPGCL, in Table 67 of the Petition, submitted expenses for CMAg projects to the tune of Rs. 4.98 Crore for FY 2022-23 along with the Auditor Certificate substantiating the same. MSPGCL to submit relevant documentary evidence substantiating the such expenses.
60. MSPGCL, in para 7.6.2.17, of the Petition, submitted an amount of Rs. 189.47 Crore deducted by MSEDCL in FY 2017-18 and FY 2018-19 be recovered from end consumers. MSPGCL to submit the relevant documentary evidence substantiating the same along with the detailed justification for claiming the same in ARR.
61. MSPGCL, in para 7.6.3.20 of the Petition, submitted an amount of Rs. 328.67 Crore disallowances faced due to non availability of 0.2S class CTs due to MSETCL for Koradi Units 8-10 from FY 2015-16 to FY 2023-24. MSPGCL to submit the detailed calculation of the same in MS Excel with appropriate formulae and linkages.
34. MSPGCL to submit the copies of fuel bills for the months of April, July, October 2022 and January 2023 clearly segregating the same for each Station/Unit.34. MSPGCL to submit the copies of fuel bills for the months of April, July, October 2022 and January 2023 clearly segregating the same for each Station/Unit.
35. MSPGCL, in Table 31 of the Petition, submitted the Availability and PLF for all its Stations for FY 2022-23. MSPGCL also submitted the SLDC certificates for actual Availability and PLF for FY 2022-23. It has been observed that the SLDC certificates does not include the overall actual Availability and PLF for each Station/Unit for the year as submitted in Table 31. MSPGCL to submit the certification of SLDC for the actual Availability and PLF as submitted in Table 31.35. MSPGCL, in Table 31 of the Petition, submitted the Availability and PLF for all its Stations for FY 2022-23. MSPGCL also submitted the SLDC certificates for actual Availability and PLF for FY 2022-23. It has been observed that the SLDC certificates does not include the overall actual Availability and PLF for each Station/Unit for the year as submitted in Table 31. MSPGCL to submit the certification of SLDC for the actual Availability and PLF as submitted in Table 31.
36. MSPGCL, in para 7.2.1 of the Petition, submitted key reasons for low Availability of its Stations in FY 2022-23. MSPGCL to submit the generation loss for each Station (old and new separately) on account of each reason.36. MSPGCL, in para 7.2.1 of the Petition, submitted key reasons for low Availability of its Stations in FY 2022-23. MSPGCL to submit the generation loss for each Station (old and new separately) on account of each reason.
37. The Commission, in the Order dated 8 March, 2022 in Case No. 133 of 2021, approved the normative SHR of 2350 kcal/kWh for Koradi Unit 6, as proposed by MSPGCL. Whereas, in the present Petition, MSPGCL has claimed the SHR of 2456 kcal/kWh for Koradi Unit 6. MSPGCL to submit the justification for seeking revision of the SHR of Koradi Unit 6.37. The Commission, in the Order dated 8 March, 2022 in Case No. 133 of 2021, approved the normative SHR of 2350 kcal/kWh for Koradi Unit 6, as proposed by MSPGCL. Whereas, in the present Petition, MSPGCL has claimed the SHR of 2456 kcal/kWh for Koradi Unit 6. MSPGCL to submit the justification for seeking revision of the SHR of Koradi Unit 6.
38. MSPGCL, in para 7.2.2 of the Petition, submitted key reasons for high SHR of its Stations in FY 2022-23. MSPGCL to submit the increase in fuel cost for each Station (old and new separately) on account of each reason.38. MSPGCL, in para 7.2.2 of the Petition, submitted key reasons for high SHR of its Stations in FY 2022-23. MSPGCL to submit the increase in fuel cost for each Station (old and new separately) on account of each reason.
39. MSPGCL, in para 7.2.3 of the Petition, submitted key reasons for high SFOC of its Stations in FY 2022-23. MSPGCL to submit the increase in fuel cost (in Rs. Crore and in Rs/kWh) for each Station (old and new separately) on account of each reason.39. MSPGCL, in para 7.2.3 of the Petition, submitted key reasons for high SFOC of its Stations in FY 2022-23. MSPGCL to submit the increase in fuel cost (in Rs. Crore and in Rs/kWh) for each Station (old and new separately) on account of each reason.
40. MSPGCL, in para 7.2.4 of the Petition, submitted key reasons for high Auxiliary Consumption of its Stations in FY 2022-23. MSPGCL to submit the generation loss for each Station (old and new separately) on account of each reason.40. MSPGCL, in para 7.2.4 of the Petition, submitted key reasons for high Auxiliary Consumption of its Stations in FY 2022-23. MSPGCL to submit the generation loss for each Station (old and new separately) on account of each reason.
41. With regards to coal related issues faced by MSPGCL in FY 2022-23, MSPGCL to submit the details of GCV on “As Received” and “As Billed” basis from each coal source along with sample documentary evidence for substantiating such difference.41. With regards to coal related issues faced by MSPGCL in FY 2022-23, MSPGCL to submit the details of GCV on “As Received” and “As Billed” basis from each coal source along with sample documentary evidence for substantiating such difference.
MSPGCL in Table 60 has submitted the reconciliation of NTI with audited accounts. However, the Table is not complete as the reasons for various items not considered as part of NTI is not mentioned. Further, MSPGCL has mentioned that the Non-Tariff Income of Rs 7.48 Crore of HO does not pertain to regulated business. MSPGCL to submit the detailed justification as to how it does not pertain to regulated business as apart from regulated business, non-regulated business of MSPGCL is Solar business. MSPGCL to substantiate with supporting documents that this entire Non-Tariff Income pertains to Solar business. Further this entire Table 60 is not in accordance with the reconciliation statement submitted as part of reconciliation of accounts between Regulated Business and Un-Regulated Business. MSPGCL to revise this Table 60 accordingly.
Total Result |  | 8

## Sheet4 (hidden)
Data Gaps | Relevance |  |  | Responsible Department
28. In accordance with Regulation 22.5 of the MYT Regulations, 2019 and Regulation 23.5 of the MYT Regulations, 2019, MSPGCL to make detailed submission on each of the following points: | General | I | M | CE Works /CGM Finance
52. MSPGCL to submit the supporting documents to substantiate the actual rate of interest on long term loan claimed for each Station/Unit for FY 2022-23. | True-up for FY 2022-23 | II | M | CGM Finance - Loan section
53. MSPGCL, in Table 50 of the Petition, claimed the actual finance charges of Rs. 27.67 Crore. MSPGCL to submit the supporting documents to substantiate the actual finance charges claimed for each Station/Unit. | True-up for FY 2022-23 | II | M | CGM Accounts / CGM Finance / CE RCD
55. MSPGCL, in Table 52 of the Petition, claimed the actual interest on working capital of Rs. 1475.16 Crore. MSPGCL to submit the supporting documents to substantiate the actual interest on working capital claimed for each Station/Unit. | True-up for FY 2022-23 | II | M | CGM Finance-Loan section / CE RCD
79. MSPGCL to submit the supporting documents to substantiate the actual rate of interest on long term loan claimed for each Station/Unit for FY 2023-24. | True-up for FY 2023-24 | III | M | CGM Finance-Loan section / CE RCD
80. MSPGCL, in Table 89 of the Petition, claimed the actual finance charges of Rs. 28.31 Crore. MSPGCL to submit the supporting documents to substantiate the actual finance charges claimed for each Station/Unit. | True-up for FY 2023-24 | III | M | CGM Finance-Loan section / CE RCD
82. MSPGCL, in Table 92 of the Petition, claimed the actual interest on working capital of Rs. 1818.53 Crore. MSPGCL to submit the supporting documents to substantiate the actual interest on working capital claimed for each Station/Unit. | True-up for FY 2023-24 | III | M | CGM Finance - Loan section
4. MSPGCL in Para 5.1.1.1 in response to compliance to the Commission’s directive regarding Grade Slippage has mentioned the various steps taken by it, but the outcome of various steps in terms of improvement achieved have not been elaborated. MSPGCL to elaborate the outcome of various steps taken regarding Grade Slippage. | General | I | M | CE FM
5. MSPGCL in Table 14 of the Petition has submitted the Gross Generation from Uran in Combined Cycle and Open Cycle for FY 2022-23 and FY 2023-24. MSPGCL to submit the similar details for first half of FY 2024-25 in Table 14. | General | I | M | CE GTPS
6. Regarding Co-firing of Biomass Pellets, MSPGCL for Khaperkheda TPS submitted that the tender has been finalized and a LoA was issued to M/s Avaneesh Chemicals. MSPGCL to submit the following in this regard: | General | I | M | CE FM
a. Copy of Bid Evaluation Report | General | I | S | CE FM
b. Copy of LoA | General | I | S | CE FM
c. Impact on Year wise Fuel Expenses based on this LoA. | General | I | S | CE FM
24. MSPGCL to submit the details regarding the coal availability for each Station (old and new separately) separately (in MS Excel) in the specified format below: | General | I | M | CE FM / CE Stations
25. MSPGCL to submit the actual month wise fuel details for each Station (old and new separately) separately (in MS Excel) in the specified format below: | General | I | M | CE FM / CE Stations
70. MSPGCL, in para 8.1.2.3 of the Petition, submitted that the actual supply of gas for Uran was 1.31 MMSCMD against the overall requirement of 3.5 MMSCMD. MSPGCL to submit the supporting documents to substantiate the actual gas receipt in FY 2023-24. | True-up for FY 2023-24 | III | M | CE GTPS
93. MSPGCL to submit the copies of fuel supply agreements executed for each Station/Unit. | Revised FUP | V | M | CE FM
94. MSPGCL to submit the details of Coal Supply Agreements for its stations in the format specified at Appendix 1. | Revised FUP | V | M | CE FM
95. MSPGCL to submit the details of Gas Supply Agreements for Uran GTPS in the format specified at Appendix 2. | Revised FUP | V | M | CE FM / CE GTPS
99. MSPGCL, in Section 14.3.1 of the Petition, mentioned that it has considered escalation of 5% for Raw and washed coal on weighted average prices of coal for the period from October 2023 to September 2024. MSPGCL to submit station-wise and month-wise details of fuel from October 2023 to September 2024 in the format below: | Multi Year Tariff for FY 2025-26 and FY 2029-30 | VI | M | CE FM
Query | Type | Category | Cat-Sub-Cat | Res Department
1. MSPGCL has not submitted the duly filled in Accounting Statement formats specified in the MYT Regulations, 2019. MSPGCL to submit the same for FY 2022-23, FY 2023-24 and FY 2024-25. | General | I | M | CGM Accounts
2. MSPGCL to submit the CAG Audit Reports for FY 2022-23 and FY 2023-24. | General | I | M | CGM Accounts
27. MSPGCL to submit the details of utilisation of revenue from sale of fly ash deposited into Fly Ash Utilisation Fund in the following format: | General | I | M | CGM Accounts / ED EnS
32. MSPGCL to submit the ITR acknowledgement for FY 2022-23 and FY 2023-24. | General | I | M | CGM Accounts
33. MSPGCL to provide the income tax assessment orders for AY 2023-24 and AY 2024-25. | General | I | M | CGM Accounts
53. MSPGCL, in Table 50 of the Petition, claimed the actual finance charges of Rs. 27.67 Crore. MSPGCL to submit the supporting documents to substantiate the actual finance charges claimed for each Station/Unit. | True-up for FY 2022-23 | II | M | CGM Accounts / CGM Finance / CE RCD