## FY 23-24 AVL
366 | [6 empty] | 92 | 273
|  | Capacity | AVL % | Gross Generation | Aux.Consm | Net Generation | HDS Generation | LDS Generation
| BHUSAWAL (Unit 3) | 210 | 80 | 1475.712 | 10.96% | 1313.974 | 330.2885 | 980.0953
| BHUSAWAL (Unit 4-5) | 1000 | 85 | 7466.4 | 6% | 7018.416 | 1764.192 | 5235.048
| KHAPARKHEDA ( Unit 1- 4) | 840 | 85 | 6271.776 | 9.7% | 5663.4137 | 1423.5903 | 4224.3496
| KHAPARKHEDA U # 5 | 500 | 85 | 3733.2 | 6% | 3509.208 | 882.096 | 2617.524
| NASHIK (Unit 3-5) | 630 | 80 | 4427.136 | 10.75% | 3951.2189 | 993.2026 | 2947.2206
| CHANDRAPUR ( Unit 3-7) | 1920 | 80 | 13492.224 | 7.8% | 12439.8305 | 3126.9519 | 9278.89
| CHANDRAPUR ( Unit- 8 & 9) | 1000 | 85 | 7466.4 | 6% | 7018.416 | 1764.192 | 5235.048
| PARAS (Unit 3- 4) | 500 | 85 | 3733.2 | 9.3% | 3386.0124 | 851.1288 | 2525.6322
| PARALI (UNIT 6-7) | 500 | 85 | 3733.2 | 9.3% | 3386.0124 | 851.1288 | 2525.6322
| PARALI (UNIT 8 ) | 250 | 85 | 1866.6 | 8.5% | 1707.939 | 429.318 | 1273.9545
| KORADI (Unit 6-7) | 210 | 72 | 1328.1408 | 10.81% | 1184.5688 | 297.7605 | 883.5718
| KORADI (Unit- 8, 9 & 10) | 1980 | 85 | 14783.472 | 6% | 13896.4637 | 3493.1002 | 10365.395
| GTPS URAN (Unit 5 -10) | 672 | 38 | 2243.0822 | 3.1% | 2173.5467 | 546.356 | 1621.252
HDS Generation Loss
[10 empty] | Critical Coal Stock |  | Poor Coal Quality |  | Governing Problem |  | Boiler Tube Leakage |  | Coal Cycle/Clincker Formation |  | Air Prehater Problem |  | Ondenser Vaccum |  | Total
[10 empty] | % | MU | % | MU | % | MU | % | MU | % | MU | % | MU | % | MU | % | MU
[9 empty] | BHUSAWAL (Unit 3) |  |  | 9.9% | 32.6986 |  | 0 | [8 empty] | 9.9% | 32.6986
[9 empty] | BHUSAWAL (Unit 4-5) |  |  | 3.97% | 70.0384 |  |  | 11.68% | 206.0576 | [6 empty] | 15.65% | 276.096
[9 empty] | KHAPARKHEDA ( Unit 1- 4) |  |  | 10.99% | 156.4526 |  |  | 1.11% | 15.8019 | 3.49% | 49.6833 |  |  |  |  | 15.59% | 221.9377
[9 empty] | KHAPARKHEDA U # 5 |  |  | 9.91% | 87.4157 | [10 empty] | 9.91% | 87.4157
[9 empty] | NASHIK (Unit 3-5) | [14 empty] | 0% | 0
[9 empty] | CHANDRAPUR ( Unit 3-7) |  |  | 6.51% | 203.5646 |  |  | 2.58% | 80.6754 | [6 empty] | 9.09% | 284.2399
[9 empty] | CHANDRAPUR ( Unit- 8 & 9) | [14 empty] | 0% | 0
[9 empty] | PARAS (Unit 3- 4) | [14 empty] | 0% | 0
[9 empty] | PARALI (UNIT 6-7) | [14 empty] | 0% | 0
[9 empty] | PARALI (UNIT 8 ) | [6 empty] | 1.35% | 5.7958 | 7.97% | 34.2166 |  |  |  |  | 9.32% | 40.0124
[9 empty] | KORADI (Unit 6-7) | [14 empty] | 0% | 0
[9 empty] | KORADI (Unit- 8, 9 & 10) |  |  | 6.47% | 226.0036 |  |  | 19.22% | 671.3739 | [6 empty] | 25.69% | 897.3774
[9 empty] | GTPS URAN (Unit 5 -10) | [14 empty] | 0% | 0
LDS Generation Loss
[10 empty] | Critical Coal Stock |  | Poor Coal Quality |  | Wet Coal Problem |  | Boiler Tube Leakage |  | Coal Cycle Formation |  | Clinker Formation |  | outages /Turbine Problem |  | Air Heater |  | Condenser Vaccum |  | Seal Oil Pump |  | Total
[10 empty] | % | MU | % | MU | % | MU | % | MU | % | MU | % | MU | % | MU | % | MU | % | MU |  |  | % | MU
[9 empty] | BHUSAWAL (Unit 3) |  |  | 8.21% | 80.4658 | 2.65% | 25.9725 | 2.58% | 25.2865 | [8 empty] | 6.83% | 66.9405 | 5.29% | 51.847 | 20.27% | 198.6653
[9 empty] | BHUSAWAL (Unit 4-5) |  |  | 4% | 209.4019 | 1.6% | 83.7608 | [14 empty] | 5.6% | 293.1627
[9 empty] | KHAPARKHEDA ( Unit 1- 4) |  |  | 9.06% | 382.7261 | 1.47% | 62.0979 | 2.02% | 85.3319 | 3.26% | 137.7138 | 2.88% | 121.6613 |  |  | 3.54% | 149.542 |  |  |  |  | 22.23% | 939.0729
[9 empty] | KHAPARKHEDA U # 5 |  |  | 4.63% | 121.1914 | 1.62% | 42.4039 | [14 empty] | 6.25% | 163.5952
[9 empty] | NASHIK (Unit 3-5) | [20 empty] | 0% | 0
[9 empty] | CHANDRAPUR ( Unit 3-7) |  |  | 5.31% | 492.7091 | 3.14% | 291.3571 | [6 empty] | 2.23% | 206.9192 | 5.12% | 475.0792 |  |  |  |  | 15.8% | 1466.0646
[9 empty] | CHANDRAPUR ( Unit- 8 & 9) | [20 empty] | 0% | 0
[9 empty] | PARAS (Unit 3- 4) |  |  | 8.38% | 211.648 | [16 empty] | 8.38% | 211.648
[9 empty] | PARALI (UNIT 6-7) | [6 empty] | 0.91% | 22.9833 | 8.82% | 222.7608 | [10 empty] | 9.73% | 245.744
[9 empty] | PARALI (UNIT 8 ) |  |  | 2.79% | 35.5433 | [16 empty] | 2.79% | 35.5433
[9 empty] | KORADI (Unit 6-7) | [20 empty] | 0% | 0
[9 empty] | KORADI (Unit- 8, 9 & 10) |  |  | 8.55% | 886.2413 | 1.23% | 127.4944 | 7.98% | 827.1585 | [12 empty] | 17.76% | 1840.8942
[9 empty] | GTPS URAN (Unit 5 -10) | [20 empty] | 0% | 0

## Sheet2 (hidden)
366